## Sheet1
EXHIBIT A
Institution | Core_Name | Core_PI_Last | Core_PI_First | Core_Mgr_Last | Core_Mgr_First | Core_Phone | Core_URL | Core_Service
UTHSCSA
UTHSCSA | Flow Cytometry Core | Daniel | Benjamin | Gorena | Karla | 210-567-3911 | http://research.uthscsa.edu/facs/ | FACSAria Analysis and Cell Sorting FACSCalibur Analysis LSR-II Analysis MoFlo Astrios Analysis and Cell Sorting Flow Cytometry Training
UTHSCSA | Genomics Resource Core | Leach | Robin | Johnson-Pais | Teresa | 210-567-5671 | http://www.uthscsa.edu/csb/genomics.asp | Illumina microarray SNP genotyping Illumina microarray gene expression Illumina microarray methylation Applied Biosystems 7900HT sequence detection system for quantitative PCR Life Technologies individual TaqMan Assays for gene expression and allelic discrimination Life Technologies TaqMan Low Density Arrays Life Technologies Ion Torrent for sequencing of the bacterial16S rRNA gene, amplicons and focused cancer genes EBV transformation of primary lymphocytes RNA and DNA isolation and sample bankin
UTHSCSA | Nucleic Acid Core Facility | Wickes | Brian | Davis | Catherine | 210-567-3929 | http://research.uthscsa.edu/dna/ | Sequencing - ABI 3130xl capillary sequencers Oligonucleotide synthesis Robotic pipetting with a Biomek FX Applied Biosystems 7900HT for quantitative PCR Nucleic acid quantification
UTHSCSA | Optical Imaging Facility | Lechleiter | James | Wang | Exing | 210-562-4062 | http://www.uthscsa.edu/csb/imaging.asp | Confocal / Multiphoton microscopy Swept field microscopy Widefield transmitted and fluorescence microscopy Xenogen whole animal imaging Nikon N-STORM super resolution/TIRF microscope Fluorescence stereo, lifetime imaging, spectral imaging Consultation and training for optical imaging Prarie Ultima confocal / multiphoton Olympus FVX 1000
UTHSCSA | MicroCT Core Laboratory | Fajardo | Roberto | Schmitz | James | 210-567-1659 | http://research.uthscsa.edu/microCT/ | High-resolution, micro-computed X-ray tomography, Non-destructive, three-dimensional imaging and data analysis Ex-vivo analysis of bone, dental and soft tissue, Scanning, data analysis and consulting Skyscan 1172 (higher resolution) microCT scanner Skyscan 1173 (higher energy, larger gantry) microCT scanner BioDent reference point indenter Pyradia F100 Furnace for ashing
UTHSCSA | Center for Macromolecular Interactions | Lafer | Eileen | Schirf | Virgil | 210-567-6590 | http://cmmi.uthscsa.edu/ | Binding affinities and kinetics for macromolecular interactions, Macromolecular shape, size, and mass in solution, Absolute macromolecular mass determination, Binding affinities and stoichiometries in macromolecular complexes, Particle size distributions in complex mixtures. Protein expression and purification.
UTHSCSA | Mass Spectrometry Laboratory | Weintraub | Susan | Hakala | Kevin | 210-567-4159 | http://research.uthscsa.edu/Mass-Spectrometry/index.shtml | Molecular mass determination Protein identification Protein quantification Sequence characterization of peptides Localization of sites of post-translational modification Metabolomics and small molecule discovery by HPLC-ESI-MS/MS Targeted quantitative small molecule analysis by HPLC-ESI-MS/MS Gas chromatography/mass spectrometry 1-D and 2-D gel electrophoresis
UTHSCSA | X-Ray Crystallography | Hart | John | Taylor | Alex | 210-567-3781 | http://xray.uthscsa.edu/ | Protein X-ray crystallography Precise atomic structures of macromolecules and macromolecular complexes. Data collection, computational structure determination. Model refinement and cross-validation. Robotic crystal screening facilities. Beam time at national lab light sources
UTHSCSA | Core for Advanced Translational Technologies | Williamson | Douglas | Cuellar | Joseph | 210-562-4068 | https://cores.uthscsa.edu/facility.php?ID=22 | Luminex FlexMap3D for high-throughput, multiplex bead arrays, Pyrosequencing on the Qiagen PyroMark Q96 MD system Fluidigm’s Biomark HD microfluidic PCR for genotyping and gene expression analysis, Illumina iScan for genome-wide assays for gene expression, genotyping, and methylation. Illumina miSeq sequencing. Pre-analytical biospecimen collection, processing procedures, and storage in the UTHSCSA biorepository, DNA methylation analysis by pyroseqeuncing DNA and RNA isolation using the Promega Maxwell 16 system Blood and saliva processing Tali Image-based cytometry
UTHSCSA | Greehey Genome Sequencing Facility | Lai | Zhao | Garcia | Dawn | 210-562-9246 | http://ccri.uthscsa.edu/Gene_Sequencing.asp | Illumina HiSeq 2000 Next Generation Sequencing Methylation and epigenetics sequencing RNA-Seq Transcriptome analysis, Small RNA sequencing ChIP-Seq Transcriptional factor binding, histone markers Exome (exome enrichment) sequencing Library preparation and QC for sequencing
UTHSCSA | Metabolomics Core Laboratory | Weintraub | Susan | Gao | Xiaoli | 210-562-4067 | http://research.uthscsa.edu/Mass-Spectrometry/index.shtml | Metabolomics and small molecule discovery by HPLC-ESI-MS/MS Targeted quantitative small molecule analysis by HPLC-ESI-MS/MS Thermofisher Q-Exactive
UTHSCSA | Biomolecular NMR | Hinck | Andrew | Ilangovan | Udayar | 210-567-8706 | http://nmr.uthscsa.edu/contact.shtml | 500 MHz NMR Spectrometer with AV--III console, 1.7mm microcryoprobe, sample autochanger and nitrogen liquifier 600 MHz NMR Spectrometer with AV--I console and cryoprobe 700 MHz NMR Spectrometer with AV--I console, cryoprobe and sample changer Gilson Liquid Handling Robot Discovery of novel small molecule inhibitors of defined macromolecular targets using NMR-based fragment screening, Mapping of interacting residues in macromolecular complexes, including an in-depth analysis of the thermodynamics and kinetics of binding, Metabolomic analysis of cell and tissue extracts. Structure determination of lipids, complex carbohydrates, and natural products, Three-dimensional structure determination of macromolecules and their complexes and atomic-resolution analyses of backbone dynamics (flexibility),
UTHSCSA | High Throughput/ Content Screening facility | Nicholson/ Hart | Bruce/ Matthew | Hart | Matthew | 210-567-3796 | http://www.cidd.uthscsa.edu | High throuhput screening targeting enzymatic activities and protein/protein interactions as well as cell based or organismal assays. Chemical libraries totally 68,800 compounds are available to investigators. Precise liquid handling of compounds and assay reagents involve the use of Agilent Bravo and Beckman BioMek 3000 workstaions. Plate washing and bulk dispensing of assay reagents are performed by Biotek El406, EL405 and Biotek microfill. BMG Pherastar FS and Biotek Synergy 4 multimode plate readers for analysis of Fluorescence-based, absorbance and luminescence assays. Hiigh Content imaging using the Perkin Elmer Operetta interfaced with robotic arms and incubators for live cell/ fixed cell assays. Perkin Elmer Columbus online analysis and database management syste for high content imaging. Chemical library management and data analysis availabe through web-based interactive system supplied by Collaborative Drug Discovery, Inc.
UTH
UTH | Fluorescence Microscopy and Imaging Core Laboratory | Bick | Roger | Poindexter | Brian | 713-500-5260 | http://www.uth.tmc.edu/pathology/research/corelab/index.html | 4 Wide-Field inverted Epi-Fluorescence Microscopes (2 with Environmental Chambers). DeltaVision Deconvolution Microscopy System for Volume Rendering and 3-D Modelling. Live-Cell Imaging System (PCI®) with High Speed Image Acquisition. Quantitative Image Analysis. Bright-Field Microscopy (Color and Grayscale). Digital Scanning of Standard Histology Slides.
UTH | Medical School Histology Lab | Breckenridge | Rick | Breckenridge | Rick | 713.500.6792 | http://www.uth.tmc.edu/pathology/research/histologylab/histology-research.html | Trimming, decalcification, processing and embedding of tissue samples, Both paraffin and frozen sectioning capabilities, A wide variety of routine and specialized stains, Image analysis equipment and services, High quality results and rapid turnaround time.
UTH | Bioinformatics (CCTS) | Chang | Jeffery | Volk | David | 713-486-5421 | http://bioinformatics.uth.tmc.edu/ | UTHealth Bioinformatics Service Center provides a full service bioinformatics center for the analysis of any sample data including DNA, RNA, proteins, and metabolites. In addition, we provide for the creation of custom software development.
UTH | Center for Laboratory Animal Medicine (CLAMC) | Goodwin | Brad | Goodwin | Brad | (713) 500-7728 | http://www.uthouston.edu/animal-research/clamc.htm | The Center for Laboratory Animal Medicine and Care (CLAMC) at The University of Texas Health Science Center at Houston is responsible for the health and well being of laboratory animals used for the institution's biomedical research programs. CLAMC works in tandem with the institutional Animal Welfare Committee, and it meets all standards mandated by the Animal Welfare Act, Center for Disease Control, National Research Council Guide for the Care and Use of Laboratory Animals, Association for Assessment and Accreditation of Laboratory Animal Care - International, and the Public Health Service Policy on Humane Care and Use of Laboratory Animals.
UTH | Cytodynamic Imaging Facility | Grill | Ray | Grill | Ray | 713.500.7495 | http://ibp.med.uth.tmc.edu/cif-ibp/ | The UTHSC Cytodynamic Imaging Facility is a state of the art microscopy facility, which directly supports the Department of Integrative Biology and Pharmacology. The facility is also available for use by scientists within UTHealth and the Texas Medical Center. The core contains three confocal microscopes, including a Nikon A1R microscope with a resonance scanner that allows near real-time image acquisition. In addition, the core contains a dedicated calcium imaging instrument, a microscope used for Total Internal Reflection Fluorescence (TIRF) microscopy, and two platforms that can be used for Fluorescence Lifetime Imaging Microcopy (FLIM). In addition, the core also contains a BD Pathway instrument for high-content, laser-based imaging, a Flexstation-3 high-end plate reader that can be used for a wide range of dynamic imaging functions, and a Fortessa Cell Analyzer System used for laser-based cell analyses. Finally, the core contains a Caliper Instruments IVIS Lumina XR imaging platform used for longitudinal assessments of fluorescence, bioluminescence and X-ray imaging of live animal subjects.
UTH | UT Pre-Clinical CT Facility | Danila | Delia | Danila | Delia | 713-500-5582 | http://www.uth.tmc.edu/schools/med/imed/ctimaging/ | High resolution, high speed small animal and specimen imaging. Skeletal imaging, Pulmonary imaging, Cardiovascular imaging.
UTH | Quantitative Genomics and Microarray Facility | Loose | David | Tran | Tuan | 713-500-7483 | https://med.uth.edu/ibp/quantitative-genomics-microarray-facility/services/ | Facility provides the following instrumentation: Agilent Technologies 2100 Bioanalyzer, Illumina Beadstation, Tecan robotics, and Tecan 400. For use with Nucleic Acids real-time qPCR instruments- Applied Biosystems 7900 (384-well) and Roche LC480 (96 or 384-well) are used.While the Microarray core can process arrays commercially purchased from Agilent, Nugene, the most powerful platform are bead based arrays from Illumina. Pro hybridization station, Agilent 4200 Scanner and assorted small instrumentation. High density SNP profiling (Illumina) and microRNA arrays (Exiqon 2 color ) are also available. For proteins MSD 2400 CCD camera electrochemoluminescence plate reader is used for MSD quantitative sandwich single or multiplex ELISA assay plates.
UTH | Genetics Core Lab | Milewicz | Dianna | Guo | Dongchuan | 713-500-6849 | http://www.uth.tmc.edu/schools/med/imed/divisions/medical-genetics/core-lab.html | Provide the infrastructure to bank DNA and other samples from patient populations. Provide expertise to support Medical Genetic study, Sanger DNA sequencing and Microsatellite and SNP genotyping.
UTH | UT MRI Facility | Narayana | Ponnada | Patel | Vipulkumar "Vips" | 713-500-6916 | http://www.uth.tmc.edu/radiology/mr-research/index.html | MR Imaging
UTH | Electron Microscopy | Navarro | Patricia | Navarro | Patricia | 713-500-5281 | http://www.uth.tmc.edu/pathology/research/electron_microscopy/index.html | Our laboratory uses high resolution electron cryomicroscopy to explore the biology of alphavirus replication including assembly and the host-virus interactions that are necessary for infection.
UTH | Fluorescence Microscopy and Imaging Core Laboratory | Poindexter | Brian | Poindexter | Brian | 713.500.5621 | http://nba.uth.tmc.edu/resources/research/fluorescent-phosphorescent_imaging.htm | The Department maintains a GE Healtchare Typhoon Trio+ flat bed imaging system originally acquired through an equipment grant funded in 2010 by the NIH/NCRR (S10 RR027359). The Trio+ is a state-of-the-art imaging system that can scan a variety of sample types from 1000 to 10 µm resolution. The typical use of this type of instrument is for quantitative analysis of Western blots, tissue sections, or other relatively flat samples. The system has three lasers capable of simultaneously exciting three different fluorescent dyes. Western blots or tissue sections can be stained with multiple antibody/fluorescent dye combinations so within sample analyses can be compared directly. Data analysis is accomplished through the IQTL suite of software modules.
UTH | Clinical & Translational Proteomics Service Center | Rosenblatt | Kevin | Li | Li | 713-500-2456 | http://www.uthouston.edu/imm/service-centers/clinical-translational-proteomics_copy/ | Protein identification from 1D gel bands, 2-D spots and other matrices(plasma, serum, urine, salivary, CSF, bronchoalveolar fluid , cell, tissue, blood vessel , nanochip etc) . Characterization of immunoprecipitated of affinity-purified proteins and protein complexes. Global protein profiling with quantitative comparisons between samples (Label free, iTRAQ, SILAC etc).Enrichment and characterization of post-translationally modified proteins and peptides.Molecular weight determination, peptide and protein QC.Targeted proteomics (SRM) for biomarker verification as well as quantitation of selected proteins or peptides in a complex mixture.Biomarker discovery ,qualification, verification and validation; Preclinical assay and clinical assay development.Pharmaceutical protein QA/QC , mapping , stability, impurity, protein and drug or dye conjugate, host cell contamination.
UTH | CLIA Molecular Diagnostics Service Center | Rosenblatt | Kevin | Bulayeva | Nataliya | 713-500-2457 | http://www.uthouston.edu/imm/service-centers/proteopath-clinical-laboratory/ | Therapeutic Drug Monitoring by LC-MS, Vitamin D detection by LC-MS, Multiplex Biomarker Dection
UTH | IMM Histopathology Service Center | Sevick | Eva | Amra | Sarah | 713-500-3386 | https://www.uth.edu/imm/service-centers/histopathology/ | Tissue Histopathology Service Center provides in-house routine histology, special strin, and immunohistochemistry services in support of research projects. With the growth of research activities, the laboratory houses equipment for the preparation of thin sections; both paraffin and fresh frozen-tissue. Services: Routine, Histology (Process, Embed, cut and strain), Section cut rolled and placed in microcentrifuge tub for DNA, RNA studies, Multi-Tissue Embedding and Sectioning, Frozen tissue Embedding and Sectioning, Blood Smear stain, and Immunohistochemistry and Special stain.
UTH | IMM Flow Cytometry Service Center | Sevick | Eva | Hazen | Amy | 713-500-3560 | https://www.uth.edu/imm/service-centers/flow-cytometry/ | Basic and advanced flow cytometry services, Immunophenotyping, Stem cell analysis, Cell cycle analysis, Apoptosis analysis, Single Cell sorting, Cytokine multiplex analysis, Post-acquisition data analysis and firgure generation.
UTH | Electron Paramagnetic Resonance (EPR) | Tsai | Ah-Lim | Tsai | Ah-Lim | 713-500-6771 | http://www-bmb.med.uth.tmc.edu/faculty/ah-lim-tsai.html | Characterization of free radicals and metals in biological samples and other material such as nano tubes. A Bruker EMX X-band EPR with liquid nitrogen, liquid helium controller with 4 – 300 K temperature range; and a dual mode resonator, Aqua X (or flat quartz cell) flow cell and ER4123D resonator with large B1 field and spin-label probe; 90 dB attenuation; a quench-flow and rapid freezing device with isopentane bath and system controller enclosed in a Coy Lab anaerobic chamber; (Update Instruments, System 1000).
UTH | Magnetic Circular Dichroism/Circular Dichroism (MCD/CD) | Tsai | Ah-Lim | Tsai | Ah-Lim | 713-500-6771 | http://www-bmb.med.uth.tmc.edu/faculty/ah-lim-tsai.html | Characterization of stereo isomers, protein secondary structure, temperature-dependent folding/unfolding, metal centers in proteins and other biological molecules. Two CD/MCD spectropolarimeters, J815 with 1 Tesla permanent magnet and J730 with 1.6 Tesla electromagnet, to cover the range from 160 – 2000 nm with a PFD-425S/425L Peltier type FDCD attachment and a Cryl-416 cryostat for low-temperature capability down to 150K.
UTH | Nanochemistry | Volk | David | Thiviyanathan | Varatharasa (Thivi) | 713-486-5421 | http://www.uthouston.edu/nbme/nano-chemistry-service-center.htm | Nanoparticles, aptamers, conjugation chemistry
UTH | Bioinformatics | Volk | David | Chang | Jeffrey | 713-486-5421 | http://bioinformatics.uth.tmc.edu/ | UTHealth Bioinformatics Service Center provides a full service bioinformatics center for the analysis of any sample data including DNA, RNA, proteins, and metabolites. In addition, we provide for the creation of custom software development.
UTH | Atomic Force Microscopy Facility (CCTS) | Zaske | Ana Maria | Zaske | Ana Maria | 713-486-5418 | https://www.uthouston.edu/nbme/gfx/AFM_Flyer.pdf | Our facility provides expertise to process topographical imaging of biological and non-biological samples in air or liquid environments. We can determine the local micromechanical properties of samples (elasticity, stiffness and roughness). We offer data analysis for determination of homogeneity of samples, size distribution, position and 3D imaging. AFM imaging can be combined with bright-field/fluorescence microscopy. We also help to design experiments and develop grant applications and manuscripts.
UTH | IMM Transgenic and Stem Cells Service Center | Zsigmond | Eva | Domozhirov | Aleksey | 713-500-2453 | https://www.uth.edu/imm/service-centers/transgenic-and-stem-cell-services/ | Microinjection of DNA, BAC or YAC clones for the production of transgenic mice. Microinjection of ES cells for the production of knock-out and knock-in mice. Microinjection of DNA for the production of transgenic rats. Cryopreservation of fertilized mouse and rat eggs and sperm. Re-derivation of mice and rats from fertilized eggs. Availability of pathogen-free animal models from high level barrier facility. Gene targeting, selection, expansion, cryopreservation of mouse ES cells. Derivation of novel mouse ES cells and other cell lines. Availability of germline competent mouse ES cell lines (129/SvImJ, C57BL/6 and BALB/c) and antibiotic -resistant mouse fibroblast feeder layer cells.
UTH | IMM Microscopy Services | Zsigmond | Eva | Mao | Zhengmei | 713-500-2453 | https://www.uth.edu/imm/service-centers/microscopy-service-center/ | The IMM Microscopy Service Center provides confocal microscopy, widefield fluorescence microscopy, and image analysis services to UTHealth as well as external customers. Our upright Leica TCS SP5 confocal microscope is a point scanning microscope with resonant and conventional scanners. Laser illumination lines include Argon 458/476/488/514nm, DPSS 561nm, HeNe 594nm, and HeNe 633nm. Spectral detection allows for free selection of the detection wavelength bands. Our Nikon Eclipse TE2000E inverted widefield fluorescence microscope has 10x and 20x long working distance objectives for viewing samples through plastic containers as well as Plan Apo 40x and 60x objectives for viewing samples through coverslip. This microscope is equipped with two monochromatic cameras: a high sensitivity Photometrics Cascade 512B EMCCD camera and a high resolution Photometrics Coolsnap HQ2 camera. Fluorescence filter sets include DAPI, CFP, FITC, YFP, DsRed, Texas Red, Cy5, and IR. A dedicated computer workstation runs the latest version of Amira software for advanced visualization, analysis and presentation of imaging data.
UTMB
UTMB | Recombinant DNA Laboratory | Wood | Thomas | Wood | Thomas | 409-747-0387 | http://www.scmm.utmb.edu/cores/rdl/rdl.htm | Plasmid construction for reverse genetics, eukaryotic or procaryotic expression plasmids, site-directed mutagenesis andplasmid DNA preparation (CsCl).
UTMB | Molecular Genomics Core | Wood | Thomas | Wood | Thomas | 409-747-0387 | http://www.scmm.utmb.edu/genomics/ | Gene expression analysis (Affymetrix), SYBR-based Real Time Arrays, Sanger Sequencing, SNP analysis and Real Time RT-PCR Assay Design and Analysis.
UTMB | Next Generation Sequencing | Wood | Thomas | Wood | Thomas | 409-747-0387 | http://scmm.utmb.edu/cores/NGS/ | Next Generation Sequence Analysis: Library construction Illumina-based sequencing and analysis.
UTMB | Protein Chemistry Section |  |  | Xu | Bo | 409-772-6766 | http://www.utmb.edu/brf/cores/proteinchemistry/index.html | Protein sequencing (Edman), amino acid analysis protein expression (bacterial and purification.
UTMB | Proteomics-Separations Section |  |  | Wiktorowicz | John | 409-772-2764 | http://www.utmb.edu/brf/cores/separationstechnology/index.html | Proteomics Separations, 2D Gels, HPLC
UTMB | Proteomics-Bioinformatics Section |  |  |  |  | 409-772-2764 | http://www.utmb.edu/brf/cores/proteomicsbioinformatics/index.html | Image analysis and bioinformatics
UTMB | Proteomics-Mass Spec section |  |  | Haag | Anthony | 409-772-2764 | http://www.utmb.edu/brf/cores/massspectrometry/index.html | Mass spectrometry
UTMB | Clinical Research Center | Powell | Don | Ottenbacher | Margaret | 409-772-1950 | http://www.its.utmb.edu/resources/clinical_research_center/index.html | Inpatient and outpatient facilities available around the clock Nursing staff available for scatter bed and community studies Ability to do invasive studies for adults and pediatrics A high nurse-patient ratio for research subjects and moderate sedation available Outpatient registration 8 outpatient rooms 8 to 10 inpatient rooms Exercise room and equipment Phlebotomy room Sleep studies laboratory Pharmacokinetic study areas Procedure room for invasive studies Metabolic kitchen Outpatient dining area
UTMB | ITS-CRC Core | Moore | Melinda | Rivera | Rosalinda | 409-772-1432 |  | Sample processing (aliquoting DNA extractions, PBMC isolation) and storage BioPlex cytokine analysis Immulite hormone analysis Glucose/lactate analysisIndirect calorimetry Body composition - Underwater weighing and BodPod Biorepository for storage of human biospecimens Sample barcoding24-hr freezer temperature monitoring Capacity to house 60,000+ human biospecimensi DEXA scanning - bone density, body composition Contrast enhanced ultrasound - muscle perfusion Strength Testing—Biodex System 4
UTMB | Transgenic Mouse | Wakamiya | Maki |  |  | 409-747-2365 | http://www.its.utmb.edu/resources/transgenic_mouse_core/index.html | Genetically engineered mouse production. Vector construction, ES cell engineering, microinjection Southern Blotting
UT MDACC
MDACC | Bioextraction Resource | Frazier | Marsha | Wei | Chongjuan | 713-563-9473 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/biospecimen-extraction-facility/index.html | AutoGenFlex Star, DNA extraction DNA Extraction from Blood, buffy coat or blood realted sample DNA Extraction from Saliva Processing of Whole Blood DNA Extraction from Fresh Frozen Tissue RNA Extraction from Fresh Frozen Tissue DNA Extraction from Formalin Fixed Paraffin Embeded Tissue Simultaneous DNA/RNA/protein extraction DNA quality check by Gel-delectrophoresis DNA quantiation by Pico-green Assay
MDACC | Cancer Genomics Core Laboratory | Zhang | Wei | Bordelon | Marla | 713-745-0077 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/labs/cancer-genomics-core-laboratory/index.html | Agilent Array CGH
MDACC | Characterized Cell Line Core (CCLC) | Eterovic | Karina | Sherman | Keri | 713-792-5743 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/characterized-cell-line-core-facility/index.html | Sequenom MassARRAY system STR Validation Mutational Analysis Mycoplasma (MycoAlert) Distribution of Cell Lines
MDACC | Clinical and Translational Research Center (CTRC) | Karp | Daniel | Fullmer | Cheryl | 713-563-3149 | internal | PK Level 1 PK Level 2 PK Level 3 PK-Urine Level 1 PK-Urine Level 2 PK-Urine Level 3
MDACC | e-Health Technology | Alex Prokhorov/Ludmila Cofta-Woerpel | Alex Prokhorov/Ludmila Cofta-Woerpel | Aguirre | Michela | 713-794-4344 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/programs-centers-institutes/ehealth-technology/index.html | development and implementation of multi-media intervention and data-capture tools
MDACC | Flow Cytometry and Cellular Imaging Facility (FCCIF) | Andreeff | Michael | Burks Clise-Dwyer | Jared Karen | 713-792-7631 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/flow-cytometry-and-cellular-imaging-core-facility/index.html | PE Caliper Vectra 2 1 Cell Sorter: BD Aria Iiu, 3 lasers, 11-color BD LSRII, 4 lasers, 12 parameters BD FACSCalibur, 2 lasers, 4-color BD FACS Array, 2 lasers, 4-color BD FACS Array, 2 lasers, 4-color Olympus Microscope, IX71 Epi-fluorescence/histology Olympus Microscope, IX51 Epi-fluorescence/histology Olympus Microscope: IX 81 DSU Confocal BCI Gallios, 4 laser, 10 parameter BCI MoFlo Astrios, 5 lasers, 22 parameters w/ BSL2 hood Olympus FV1000 Laser Confocal Microscope DVS MassSpec-CyTOF WaferGen SS-200 Micro-incubation system with O2 control MassSpec-CyTOF Sony Eclipse 4-laser, 5-color flow cytometer with autosampler BCI Gallios, 3 lasers, 10 parameters BD LSR Fortessa, 4 lasers, 14-color 2 Cell Sorters: BD Aria IIu, 3 lasers, 11-color & 2 lasers, 7-color; Calibur Cell Analyzer Amnis Image Stream X MarkII Sony EC800Cell Analyzer Baker SterilGARD BSC for FACSJazz BD FACSCanto II analyzer, 3 lasers, 8-color with HTS BD FACS Jazz sorter, 2 lasers, 6-color BD Influx cell sorter, 5 lasers, 16-color BD Pathway 435 bioimager, 4-channel confocal Synergy Sony iCyt SY3200 cell sorter, 2 HAPS systems, 10 lasers, Baker BSC Flow Analysis, assisted Flow Imaging, assisted Flow Sorting, assisted Flow Analysis, unassisted Flow Imaging, unassisted Flow Sorting, unassisted mAB Conjugation Microscopy
MDACC | Functional Proteomics Reverse Phase Protein Array Core (RPPA) | Lu | Yiling | Sherman | Keri | 713-792-5743 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/functional-proteomics-rppa-core/index.html | Aushon Arrayer Dako Autostainer Tecan EVO robot with 96-well head Nanozoomer RPPA Analysis
MDACC | Genetically Engineered Mouse Facility (GEMF) | Klein | William | Parker-Thornburg | Jan | 713-745-2654 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/genetically-engineered-mouse-facility/index.html | Eppendorf FemtoJet Injection System EBS 4002 Sperm CryoStorage Units Pronuclear Injection Rederivation Blastocyst Injections Cryopreservation Sperm Cryopreservation Charge Through Mouse Resource Facility ES Cell Generation In Vitro Fertilization Electroporation/Gene Targeting IVF-Cryopreservation
MDACC | High Resolution Electron Microscopy Facility (HREMF) | Langley | Robert | Dunner | Kenneth | 713-792-9142 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/high-resolution-electron-microscopy-facility/index.html | JSM 5900 Scanning Electron Microscope (Jeol USA, Inc.) JEM 1010 Transmission Electron Microscope (Jeol USA, Inc.) Leica EM Ultrastainer Leica Ultramicrotome Bal-Tex MED 020 Coating System Polaron Critical Point Dryer SEM Micoscopy TEM Micoscopy
MDACC | Keeling Center for Comparative Medicine and Research | Abee | Christian R. | Zapalac | Laura | 512-321-3991 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/programs-centers-institutes/michale-e-keeling-center-for-comparative-medicine-and-research/core-resources/index.html | Becton Dickinson FACSCalibur Becton Dickinson FACSArray Wallac 1470 Wizard Gamma Counter Wallac 1409 Liquid Scintillation Counter Anatomical Pathology Services - Clinical Pathology Biologics and Custom Antisera Production Programs GLP-Clinical and Research Support Capabilities Diagnostic Radioimmunoassay Molecular Diagnostics -DNA extraction Surgical and Radiological Services Laboratory Reference Value Registry Chimpanzee Biomedical Research Resource (CBRR) Rhesus Monkey Breeding and Research Resource (RMBRR) Owl Monkey Breeding and Research Resource (OMBRR) Squirrel Monkey Breeding and Research Resource (SMBRR) Large Animal Biomedical Research
MDACC | Molecular CytoGenetics Facility (MCF) | Killary | Ann | Multani | Asha S. | 713-834-6362 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/molecular-cytogenetics-core-facility/index.html | Nikon Eclipse 50i microscope and 80i upright microscope Applied Spectral Imaging SKY interferometer plus workstation Sensys CCD camera for FISH image acquisition and analysis PSI Genetiscan cytogenetics workstation with dedicated EM 400 Nikon Microscope, CCD camera and karyotyping software Study of genetic instability by chromosome analysis Inter-species cell line contamination/Identification by Giemsa Staining Detailed Cell line characterization by Karyotyping (banding) Giemsa (G), C, Q, R -banding, and silver staining of metaphase chromosomes Sister Chromatid Exchange (SCE) analysis Meiotic chromosome analysis Fluorescence in situ hybridization (FISH) on interphase and metaphase cells using whole chromosome paints, centromere probes, gene mapping with commercial and laboratory-generated DNA probes Quantitative FISH (Q-FISH) analysis of telomeric sequences Spectral Karyotyping (SKY) in human, mouse and rat cells Determine the genetic suitability of mammalian stem cells to be used for cloning purposes
MDACC | Monoclonal Antibody Facility (MAF) | Bover | Laura | Vein | Long | 713-563-3223 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/monoclonal-antibody-core-facility/index.html | Fiber Cell Bioreactor Hybridoma Development Ascites production Antibody purification (FPLC) Antibody purification (Protein A) Small scale purification Mycoplasma Test (MycoAlert) F(ab)2 Production Recloning-Subcloning Invitro Supernatant Production mAB-Biotinylation Stock of hybridoma
MDACC | Multiphoton Core | Hung | Mien-Chie | Han | Zhenbo | 713-792-8964 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/programs-centers-institutes/center-for-biological-pathways/multiphoton-microscopy-core.html | Zeiss LSM 7MP: LSM 7 MP
MDACC | Patient-Reported Outcomes, Survey and Population Research (PROSPR) | Parker | Patricia | Rosenblum | Carol | (713) 745-2388 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/prospr-shared-resource/index.html | Data Support Research Support includes Data Entry BRTC lab (need better label) 150 GT3XE-plus Triaxial Activity Monitors Biodex Multi-Joint system Hologic Bone Densitometer (Discovery A) BRTC lab (need better label)
MDACC | Proteomics Facility | Hawke | David | Hawke | David | 713-834-6096 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/proteomics-facility/index.html | Ion Trap Mass Spectrometer (Thermo Electron LTQ) Ion Trap Mass Spectrometer (ThermoFinnigan LCQ Deca XP) Tandem Quadruple Mass Spectrometer (Agilent 6460) MALDI TOF/TOF Mass Spectrometer (Applied Biosystems 4700) Applied Biosystems Procise cLC 494 and HT494 OrbiTrap Protein Identification 1 - Discovery Protein Identification 2 - Confirmation Molecular Weight Determination Quantitative Protein Analysis Metabolomics
MDACC | Research Animal Support Facility (RASF) | Tinkey | Peggy |  |  |  | internal | RASF-H Rodent Cage Changeout NCV Redent RASF-H Rodent Cage Changeout NCV non-Rodant RASF-H Rodent Cage Changeout SCV Rodent RASF-R Rodent Cage Changeout Rodent
MDACC | Research Animal Support Facility (RASF) | Coghlan | Lezlee | Weiss | Dale |  | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/research-animal-support-facility/research-animal-support-facility.html | RASF-S_GENOTYPING SERVICES RASF-S_SURGERY SERVICES RASF-S_IMPORT RASF-S_EXPORT RASF-S_CUSTOM PRODUCED ANIMALS RASF-S_COLONY MANAGEMENT RASF-S_Quality Assurance RASF-S_IRRADIATOR
MDACC | Research Animal Support Facility (RASF) | Johnson | David | Hollowell | Debra | (512) 237-9499 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/transgenic-animal-core/transgenic-animal-core.html | Transgenic Services_Sperm Freezing Transgenic Services_DNA CONSTRUCT Transgenic Services_Frozen Embryos Transgenic Services_Rederivation
MDACC | Research Animal Support Facility (RASF) | Benavides | Fernando | Benavides | Fernando | (512) 237-9343 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/genetic-services/genetic-services.html | Lab Animal Genetic Services_Background Characterization Lab Animal Genetic Services__Background Characterization with SNPs Lab Animal Genetic Services__Genetic Monitoring Lab Animal Genetic Services__Linkage Analysis Lab Animal Genetic Services__Polymorphism Test Lab Animal Genetic Services__CONSULTATION Lab Animal Genetic Services__DNA Extraction Lab Animal Genetic Services__H2 Haplotyping Lab Animal Genetic Services__Microbial PCR Lab Animal Genetic Services__Microbial Extraction Lab Animal Genetic Services__Sex Determination Lab Animal Genetic Services__Microsatellite Instability Assay Lab Animal Genetic Services__Restriction Enzyme Assay
MDACC | Research Animal Support Facility (RASF) | Kusewitt | Donna | Kusewitt | Donna | (512) 237-9347 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/mutant-mouse-pathology-service/mutant-mouse-pathology-service.html | MUTANT MOUSE PATHOLOGY SERVICE_FULL PHENOTYPING MUTANT MOUSE PATHOLOGY SERVICE_FULL NECROPSY MUTANT MOUSE PATHOLOGY SERVICE_GROSS NECROPSY MUTANT MOUSE PATHOLOGY SERVICE_HISTOPATHOLOGY MUTANT MOUSE PATHOLOGY SERVICE_HEMATOLOGY MUTANT MOUSE PATHOLOGY SERVICE_SERUM CHEMESTRY MUTANT MOUSE PATHOLOGY SERVICE_LCM ASSISTANCE MUTANT MOUSE PATHOLOGY SERVICE_LCM TRAINING MUTANT MOUSE PATHOLOGY SERVICE_ULTRASOUND ASSISTANCE MUTANT MOUSE PATHOLOGY SERVICE_RADIOGRAPHY(FAXITRON) MUTANT MOUSE PATHOLOGY SERVICE_ULTRASOUND TRAINING MUTANT MOUSE PATHOLOGY SERVICE_CONSULTATION MUTANT MOUSE PATHOLOGY SERVICE_OTHER
MDACC | Sequencing & ncRNA Core | Liu | Chang-Gong | Liu | Xiuping | 713-745-8182 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/ncrna-program/index.html | Solid Sequening Ion Torrent Affymetrix chips
MDACC | Sequencing and Microarray Facility (SMF) | Huff | Viki | Thompson | Erika | 713-834-6197 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/dna-analysis-facility/sequencing-and-microarray-facility-smf.html | Affymetrix GeneChip Scanner 7000G, high-throughput array station, Fluidics Stations, Hybridization Oven NimbleGen Hybridization System; Illumina iScan; Illumina BeadXpress; Illumina GoldenGate Satellite Kit; Illumina HiSeq 2000 (2); Illumina cBOT; Illumina BeadXpress and iScan; Axon Instruments GenePix 4000B scanner (for NimbleGen and other glass slide arrays); MAUI Hybridization System (for NimbleGen and other glass slide arrays); Applied Biosystems 3730xl Genetic Analyzer (96-capillary) and 3730 Genetic Analyzer (48-capillary) Illumina Genome Analyzer Iix; Covaris ultrasonicator; Beckman Coulter SPRI-TE robotic system; Beckman Coulter Biomek 2000 robotic workstation; Applied Biosystems 7500 Sequence Detection System; Applied Biosystems 7900 Sequence Detection System (with low-density array); Eppendorf epimotion; Illumina MiSeq ; Sanger; Fragment Analysis Genescan; Resequencing; Gene Expression; Next Generation Sequencing: Illumina ; GAII; Illumina Sequencing Sample Preparation; SNPlex ; Sample QC ;Nanodrop QC; Affy 1 cycl TP; Affy 2 cycl TP; Affy Express 3'IVT TP; Affy Gene 1.0-2.0 ST Target prep; Affy Exon 1.0 ST Target preparation; SNP Target Preparation; Affymetrix CytoScan HD TP; miRNA target preparation; Illumina Gene Expression Target Preparation ; Illumina DNA Methylation Target Preparation; Illumina GoldenGate Genotyping Target Preparation; Affymetrix Hybridization; SNP Hybridization; NimbleGen Hybridization; miRNA Hybridization; Illumina Hybridization; Affymetrix Imaging : NimbleGen Imaging; miRNA Imaging; Illumina Imaging: Custom Imaging
MDACC | siRNA Screening Service | Bartholomeusz | Geoffrey | Bartholomeusz | Geoffrey | 713-792-4158 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/sirna-core-facility/index.html | Beckman Coulter BioMek FX robot enclosed in sterile HEPA filtered Nuaire enclosure Beckman coulter BioMek 3000 robot enclosed in sterile HEPA filtered Nuaire enclosure BioTek EL406 Liquid Dispenser enclosed in a sterile HEPA filtered hood BioTek ELZ405 Liquid Dispenser/Aspirator enclosed in a sterile HEPA filtered hood BioTek EL406 microflow reagent dispenser – for dispensing endpoint reagents GE INCELL 6000 Liconic incubators (5) - for incubation of 384 siRNA test plates. Spheroid Imaging Analyzer Dharmacon whole transcriptome 3D culture screens Dharmacon kinome Dharmacon targetable Dharmacon custom
MDACC | Small Animal Imaging Facility (SAIF) | Hazle | John | Kingsley | Charles | (713) 563-6709 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/small-animal-imaging-facility/index.html | Vevo770, B Mode + pwr Doppler. Vevo 2100 + LAZR (Photoacoustic) Hypersense DNP (Oxford Instruments)
MDACC | Small Animal Imaging Facility (SAIF) | Hazle | John | Arumugam Kingsley | Thiru Charles |  | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/small-animal-imaging-facility/index.html | IVIS Spectrum (Caliper Life Sciences) Multi-Animal Monitoring System (SA Instruments) IVIS Lumina XR (Caliper Life Sciences) X-Rad 225Cx (Precision X-Ray) Bruker ICON 1T Permanent Magnet MRI System Bruker Carestream In-vivo Xtreme 4.7T, 40cm Biospec MR Scanner, upgrade to Avancell (Bruker) M.Cam Gamma Camera (Siemens) 7T, 30cm Biospec MR Scanner (Bruker) Gamma Medica X-Spect SPECT/CT* Planar Digital Radiography (Faxitron X-Ray) NumaStore Mirror, NumaStore Image Archiving System Vevo 660 Ultrasound (VisualSonics) Explore Locus SP Specimen Scanner (GEMS) Siemens Inveon PET/CT* ICONH 1T in-vivo small animal MRI MR guided Focused Ultrasound system Bruker 4.7T (Hour) ; Bruker 7T (Hour) ; HyperSense (Hour) ; IVIS 100 (Hour) ; IVIS Lumina (Hour) ; IVIS Spectrum (Hour) ; mCAM (Hour); mCT (Hour) ; mPET (Hour) ; Signa 1.5T (Hour) ; spCT (Hour) ; Ultrasound (Hour)
MDACC | Tissue Biospecimen and Pathology Resource (TBPR) | Wistuba | Ignacio | Furr | Jackie | (713) 792-3119 | inside | Gemini Stainer Leica Cryostat Manual Tissue Microarrayer Microwriter cassette labeler Carousel Cassette Labeler w/ PC (7) Leica Microtome (3) Thermo Electron Processor (2) Biocare Immunostainer BioCare IQ Stainer Thermo Electron Laser writer Automatic Tissue Arrayer Histologic processing and sectioning of fixed tissue specimens Frozen sections of fresh-frozen tissue specimens Hematoxylin and eosin staining Special staining Preparation of sections on positively charged or coated slides for immunohistochemistry or in situ hybridization Collection of sections in tubes, including buffer-containing microcentrifuge tubes, for research laboratory analysis Expert consultation on histopathologic and related technologies and methodologies Referral for histopathology consultation by organ-site subspecialty pathologists Online ordering, tracking, and accounting database Immunostaining RNase-Free Sectioning
MDACC | Tissue Biospecimen and Pathology Resource (TBPR) | Wistuba | Ignacio | Cushenberry | Enola | 713-745-7047 | inside | Assistance with Obtaining Preoperative Patient "Front Door Consent"; Verification of Patient Consent; Prospective Tissue Identification & Collection; Prospective Tissue Processing; Retrospective Tissue Distribution; Study Registration; Liquid Nitrogen fee; Archived Tissue; On-site Tissue Collection; Paging Service; Sterile Collection
MDACC | Gene Editing Transcription Activator-Like (TAL) Effector Engineering Core | Cooper | Laurence | Rabinovich | Brian | 713-792-9860 | new core | Sciclone G3 Gene editing constructs
MDACC | Translational Chemistry Core Facility (TCCF) | Bornmann | William | Maxwell | David | 713-792-0385 | internal | Explorer 48-Position Automation System (Microwave CEM Reactor), (2) Prep Varian HPLC Model 940, (5) CombiFlash Chromatography System w/ISCO columns, Vantage Automated Organic/Peptide Synthesizer, Solvent Purification System, Accurate-Mass TOF LC/MS System, Carousel 12 Place Complete System, SMART X2S Automated Bench Top X-RAY System, NitroFlow Nitrogen Generator, Alpha FT-IR Spectrometer, (4) Rotovap Rotary Evaporator Freeze Dry System Freezone 6L, Schrodinger Modeling Software, SYBYL Suite Software (multi-user) Aquastar Coulometric Titrator Reveleris iES Flash Chromatography System 500 MHz Avance III console, Prodigy cryoprobe, SampleXpress autosampler (2) Varian LC-940 HPLC systems with reverse C18 and normal phase HPLC columns Agilent Accurate-Mass TOF LC/MS system with Agilent LC1200 HPLC CEM Microwave Discover S Class with Explorer 48 robot arm Bruker SMART X2S Automated Bench Top X-ray system the Aapptec® Vantage DeltaVision OMX Blaze V4 Vutara SR-200 NMR Analysis Development Custom Synthesis Mass Spec Analysis X-ray Cemical Modeling Synthesis Consultation
MDACC | Translational Chemistry Core Facility (TCCF) | McMurray | John | Kaluarachchi | Kumar | 713-792-3779 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/nmr-facility/index.html | 300-MHz Bruker DRX spectrometer with Z-axis pulsed field gradient capability 500-MHz Bruker Avance spectrometer with X, Y, and Z triple-axis pulsed field gradient capability 600-MHz Avance spectrometer with Z-axis pulsed field gradient capability 300-MHz Bruker DRX spectrometer with Z-axis pulsed field gradient capability 500-MHz Bruker Avance spectrometer with X, Y, and Z triple-axis pulsed field gradient capability 600-MHz Avance spectrometer with Z-axis pulsed field gradient capability
MDACC | Super High Resolution Fluorescence Microscopy | Zal | Tomasz | Zal | Anna | 713-563-7306 | none yet | OMX Blaze Structured Illumination Microscope DeltaVision V Vutara Single Molecule Localization Microscope SR-200 Leica SP2 Confocal Microscope SP2 SE with spectral detection and 405, 458, 488, 514, 543, and 633 laser lines. Data analysis Workstation
MDACC | Bone Disease Program of Texas Bone Histomorphometry Core | Navone | Nora | Starbuck | Michael | 713-563-1212 | http://www.mdanderson.org/education-and-research/resources-for-professionals/scientific-resources/core-facilities-and-services/bone-histomorphometry-core-lab/index.html | Processing/Plastic MMA Embedding Custom stain Goldner's Trichrome stain Hematoxylin & Eosin (H&E) stain Histological Stains Histomorphometric analysis: Imaging Kinetic Analysis (Bone Formation Rate) Paraffin Sectioning Plastic Resin sectioning Static Analysis Bone volume/structural measurements Static analysis Osteoblasts Static Analysis Osteoclasts Toluidine Blue stain TRAP stain Von Kossa/ Toluidine Blue stain Von Kossa/ TRAP stain Von Kossa/ van Gieson stain
MDACC | Histology and Tissue Processing Core-Smithville | Kusewitt | Donna | Kusewitt | Donna | (512) 237-9347 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/histology-tissue-processing/histology-and-tissue-processing.html | Fixation Processing Embedding Microtomy Cryosectioning Tissue samplingApoptosis assays Staining Whole mount services Immunohistochemistry
MDACC | Science Park Next-Generation Sequencing Facility | Shen | Jianjun (J-J) | MacLeod | Michael | (512) 237-9541 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/next-generation-sequencing-core/next-generation-sequencing-core.html | RNA-Seq Differential Expression; RNA-Seq Novel Transcripts; RNS-Seq miRNA*; RNA-Seq Strand-specific; DNA-seq Human Exome; DNA-seq Mouse Exome; ChIP-seq; Illumina HiSeq 2500; Illumina MiSeq; Illumina cBot; Covaris s200; SPRI-TE; Biomek NXP; Blue Pippin; Agilent 2100 Bioanalyzer; Agilent 2200 TapeStation; Automated DNA Isolation; Genotyping; DNA Sequencing; Quantitative Real-Time PCR and RT-PCR; Protein Analysis
MDACC | Science Park Flow Cytometry | Richie | Ellen | Whitney | Pamela | 512-297-9427 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/flow-cytometry-core/flow-cytometry-core.html | Cell sorting Multiparameter immunofluorescence Apoptosis analysis Cell cycle analysis Single-cell deposition Identification of side-population stem cells Consultation and training Experimental design and data analysis
MDACC | Science Park Molecular Biology Services | Shen | Jianjun (J-J) | MacLeod | Michael | (512) 237-9541 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/molecular-biology-core/services.html | Tyhoon Variable Mode Imager 9410; ABI 3130xl Genetic Analyzer; Beckman Coulter Biomek NXP Laboratory Automation Workstation; Agilent 2100 Bioanalyzer; WaferGen Biosystems SmartChip High-Throughput PCR System; ABI 7900HT Fast Real-Time PCR System; ABI 7300 Real-Time PCR System; GenePix Professional 4200A; NanoDrop Spectrophotometer; SpectraMAX 190 Microplate Reader;
MDACC | DNA Methylation Analysis Core | Estecio | Marcos |  |  | (713) 792-9108 | http://www.mdanderson.org/education-and-research/departments-programs-and-labs/departments-and-divisions/science-park/resources/dna-methylation-analysis-core/dna-methylation-analysis-core.html | PyroMeth MethyLight RRBS Methyl-Seq
MDACC | RNAi screening service | Sood | Anil | Mitra | Rahul | 713-792-0691 | http://www.mdanderson.org/education-and-research/research-at-md-anderson/early-detection-and-treatment/centers/center-for-rna-interference-and-non-coding-rnas/services/index.html | high-throughput in situ hybridization (ISH) technology for microRNA and non-coding RNA analysisDiscovery Ultra Discovery Ultra
UTSW
UTSW | Analytical Ultracentrifugation Core | Phillips | Meg | NA | NA | 214-645-6164 | http://www.utsouthwestern.edu/research/core-facilities/analytical-ultracentrifugation-core.html | The Beckman Analytical Ultracentrifuge XLI can assist investigators in analyzing molecular weight or molecular interaction between proteins The XLI has both absorbance and interference optics.
UTSW | Bioinformatics (Simmons Cancer Center) | Xie | Yang | NA | NA | 214-648-5178 | http://www.utsouthwestern.edu/education/medical-school/departments/simmons/research/shared-resources/bioinformatics.html | Sequencing data processing and analysis: The Resource has developed processing and analysis pipelines for high-throughput next-generation sequence (NGS) data, such as RNA-seq, ChIP-seq, miRNA-seq and CLIP-seq. The input to the NGS pipeline is either raw reads from the sequencing machines or mapped reads from alignment software. Microarray data processing and analysis: Bioinformatics personnel will help investigators on microarray data processing and analysis, including background correction, normalization, summarization, quality control, detecting differentially expressed genes, and correlation of gene expression with phenotypes or clinical variables. Bioinformatics: The Resource is available to help investigators with bioinformatics analysis, such as pathway and gene function enrichment analysis and gene network analysis. Database, software and web interface development: Services include design and implementation of interactive web applications as well as the underlying database back-ends. Support is available for investigators with problems concerning data acquisition, management, and analysis. High-performance computing systems access: Bioinformatics personnel can configure, maintain, and administer high-performance computing resources for Cancer Center investigators. The Resource has a suite of servers and computer clusters available for researchers to analyze and store data. Grant-writing assistance: Support is available for proposals seeking to integrate modern computational techniques in research activities; practical training; and data analysis. ‘Walk-in’ clinics and other training: Free consultations for Cancer Center members are available weekly on data analysis and accessing computation servers. Also, the Resource provides hands-on practical workshops on how to access the high-performance computational cluster, Unix/Linux environment, and basic programming skills.
UTSW | Biostatistics (Simmons Cancer Center) | Xie | Xian-Jin (Jin) | NA | NA | 214-648-4017 | http://www.utsouthwestern.edu/education/medical-school/departments/simmons/research/shared-resources/biostatistics.html | To review background rationale, to assist in the design, evaluation, and analysis of new research proposals arising from current projects. To provide proper analysis and interpretations of different types of bioassays, particularly mega-data such as those generated from gene expression arrays. To assist in manuscript preparation and to review scientific submissions. To review Cancer Center clinical research protocols. To provide special education and training opportunities in biostatistics and bioinformatics to oncology students, residents, fellows, and Cancer Center investigators.
UTSW | Clinical Investigator Resource Core (CIRC) (Center for Translational Medicine) |  |  |  |  | 214-648-5005 | http://www.utsouthwestern.edu/research/core-facilities/clinical-investigator-resource-core.html | Guidance in meeting regulatory requirements for clinical research.General information or brief consultation regarding availability of resources and services to support clinical and translational research. Connections to potential mentors, collaborators, and research resourcesPre-review of investigator-prepared regulatory documents: a review of all draft documents prior to submission to the IRB to ensure that they are complete, correct, and consistent. A Pre-Review usually takes less than 2 business days and typically results in a significant decrease in time required to attain final approval of the protocol. (please log in to the eIRB site for access to Pre-Review). Preparation of regulatory documents for submission to the IRB and the sponsor.Preparation of, or guidance concerning, budgets for research studies. (increased fee structure; time estimates vary depending upon the complexity of the protocol.) Preparation of/comprehensive consultation regarding an IND or IDE to the FDA.Protocol development and consultation.Preparation of study initiation documents.Preparation of regulatory binders.Preparation for an audit.Other complex regulatory activities or filings.
UTSW | Computational Biology/Bioinformatic Core (McDermott Center) | Xing | Chao | NA | NA | 214-648-1965 | http://www.utsouthwestern.edu/education/medical-school/departments/mcdermott-center/core-facilities/computational-biology-bioinformatic.html | Basic processing of next-generation sequencing data generated in the McDermott Center. The support for this analysis is included in sequencing price. Customize data analysis tailored to the needs of individual projects. Charges for this service will be negotiated based on the nature and complexity of the analysis.
UTSW | DNA Genotyping Facility (McDermott Center) | Kittler | Ralf | Schmid | Vanessa | 214-648-5101 | http://www.utsouthwestern.edu/education/medical-school/departments/mcdermott-center/core-facilities/dna-genotyping.html | This is a core facility for allelic discrimination using an ABI 7900HT real time PCR instrument and the TaqMan Assay.
UTSW | DNA Microarray Core | Wakeland | Ward | Zhou | Jinchun | 214-645-6071 | http://www.utsouthwestern.edu/research/core-facilities/dna-microarray-core.html | The Microarray Core Facility (MCF) has been fully operational since 2001 and providing centralized access to microarray and related technology for our research community. The MCF provides access to a variety of microarray technologies including Affymetrix GeneChip system, Illumina BeadArray system. Eppendorf DualChip platform, In-house spotted microarray and proteomic arrays. We provide a broad range of microarray products and services to our users, including whole genome gene expression and genotyping (using Affymetrix, Illumina, or other platforms), microRNA, custom DNA array printing and hybridization service, proteomic array service, sample preparation (DNA, RNA) and QC (using Aligent 2100 Biolnalyzer and NanoDrop quantification), microarray validation using Real-time PCR, and microarray data analysis using a variety of bioinformatics tools including Genespring and Ingenuity(IPA). In addition, we are planning to add NimbleGen’s array CGH and Chip-IP analysis and next generation high speed sequencing in the near future and make this new technologies available to our users. Our goal is to provide the state-of-the-art technology to our faculties with the best service and the lowest cost.
UTSW | DNA Next Generation Sequencing Core (McDermott Center) | Schmid | Vanessa | NA | NA | 214-648-5101 | http://sequencing.swmed.edu/index.php?route=information/information&information_id=6 | This core facility provides Next Generation Sequencing (NGS) services for UTSW investigators. We currently have one Illumina HiSeq 2500, one Illumina HiSeq 2000 and two Lifetech SOLID 5500XL sequencers. We currently accept samples for whole genome sequencing (WGS), transcriptome sequencing (RNA-Seq), chromatin immunoprecipitation sequencing (ChIP-Seq), and targeted re-sequencing (exome capture, for example). We will accept your pre-made libraries or purified DNA, RNA and make the libraries for you. After sequencing your samples we provide assistance with data analysis. We currently have four technicians making libraries and three bioinformaticists to aid with data analysis. Our turn around times varies between 5 days for pre-made libraries with very short read lengths and minimal data analysis to over three months for complex samples with long read lengths and extensive data analysis requirements
UTSW | DNA Sanger Sequencing Core (McDermott Center) | Kittler | Ralf | Schmid | Vanessa | 214-648-5101 | http://www.utsouthwestern.edu/education/medical-school/departments/mcdermott-center/core-facilities/dna-sanger-sequencing-core.html | This core facility provides genotyping, SNP detection assays, and DNA sequencing for UT Southwestern Medical Center Investigators. Samples are amplified using Applied Biosystems Inc.(ABI) Big Dye Terminator 3.1 chemistry, and are analyzed on ABI capillary instruments. We are located on the north campus in room NA2.138 and maintain a south campus drop-off box located in room L5.268.
UTSW | Electron Microscopy Core | Luby-Phelps | Kate | NA | NA | kate.phleps@utsouthwestern.edu | http://www.utsouthwestern.edu/research/core-facilities/electron-microscopy-core.html | The centralized research and teaching Electron Microscopy Core Facility provides light- and electron-microscopy services in both life and physical sciences.
UTSW | Flow Cytometry Core | Farrar | David | Mobley | Angie | 214-648-7325 | http://www.utsouthwestern.edu/research/core-facilities/flow-cytometry-core.html | The flow cytometry multi-user core facility has both North and South Campus locations. The facility is equipped with two FACScans, three FACSCaliburs, a CyAn, and a LSR II for user operated data acquisition. Users are trained to run the benchtop analyzers and billing is calculated in half hour increments. FACScan - single laser instrument, 488nm, capable of three fluorescent colors FACSCalibur - dual laser instrument with lasers at 488nm and 635nm, capable of four fluorescent colors * CyAn - a three laser, nine color instrument, with lasers at 488nm, 405nm, and 635nm LSR II - a four laser, sixteen color instrument, with lasers at 488nm, 532nm, 405nm, and 635nm laser * * The Calibur and LSRII on the north campus are both equipped with a HTS, high throughput system, to acquire sample directly from a 96 or 384 well plate. There are five cell sorters available for use in the facility, the MoFlo, and three Arias are operated by facility staff only. The AutoMacs is user operated. MoFlo - three laser, nine color, high speed sorter with lasers at 488nm, 633nm, and 360nm Aria - a five laser, eighteen color, high speed sorter with lasers at 488nm, 532nm, 405nm, 635nm AutoMacs – Automated benchtop magnetic cell sorter
UTSW | Genomics Core (Immunology Dept) | Wakeland | Ward | Liang | Chaoying | 214-648-7328 | http://www.utsouthwestern.edu/research/core-facilities/genomics-core.html | The UT Southwestern Genomics Core provides access to next generation sequencing (NGS) to investigators at UT Southwestern, at other institutions in the UT System, and at additional cost to investigators outside of the UT system. This facility is equipped with Illumina sequencers, including both the HISEQ 2000 and HISEQ1000. The Core can receive flow cell ready samples (sequencing libraries that are prepared by the user) or perform sequencing library production for genomic libraries, RNA-SEQ applications, and small RNA (microRNA) applications. Data output routinely will provide de-multiplexing and alignment to the genome of choice using a variety of assembly and analysis programs, including CLC-Biosystems workbench, a BWA-GATK-Genotyper pipeline, a BowTie-Top Hat analysis pathway, and the Illumina ELAND DNA sequence aligner. Limited access to post sequence data analysis software is also available through the core, including both CLC-Biosystems (2 floating licenses available for on campus users) and the Genome Studio software packages. The core can also provide more extensive bioinformatics analysis to users for an additional charge. The operation of this facility is supplemented with University resources, which allows extremely low pricing for investigators within the UT System. Investigators outside of the UT system can also utilize our core, however, pricing is higher for these investigators in that the entire cost of the procedures must be recovered. Information on protocols available, pricing, and sample submission guidelines are provided in separate sections of genomics core website.
UTSW | High Throughput Screening (Simmons Cancer Center) | Wei | Shugang | NA | NA | shugang.wei@utsouthwestern.edu | http://www.utsouthwestern.edu/education/medical-school/departments/simmons/shared-resources/high-throughput/lab.html | The HTS laboratory has all of the equipment required for HTS. The laboratory operates two Beckman FX liquid handlers, a Beckman SPAN-8 liquid handler for cherry picking, eight Multidrop instruments for dispensing reagents into plates, two plate washers, two plate sealers, two EnVision multimode plate reader, a Coulter Cell Counter and all necessary cell culture equipment. The laboratory has a DB Pathways 855 with cell incubator and robotics for microscope based screening.
UTSW | Human Genetics Clinical Core (McDermott Center) | Garcia | Christine | NA | NA | 214-648-1471 | http://www.utsouthwestern.edu/education/medical-school/departments/mcdermott-center/core-facilities/human-genetics-core-laboratory.html | The Human Genetics Core is set up to support the collection and storage of blood samples from phenotypically well characterized patients being evaluated, treated, and studied at UT Southwestern Medical Center. Services include isolation, aliquoting, and storage of white blood cells, serum, plasma, and genomic DNA.
UTSW | Live Cell Imaging Core | Luby-Phelps | Kate | Bugde | Abhijit | 214-648-9935 | http://www.utsouthwestern.edu/research/core-facilities/live-cell-imaging.html | The mission of the Live Cell Imaging Core Facility is to provide affordable access to modern optical microscopy for researchers in both the clinical and the basic sciences. The facility offers a variety of microscope imaging modalities including laser scanning confocal, multiphoton, spinning disk confocal, wide-field deconvolution, CFP/YFP FRET, TIRF and single molecule imaging. Two workstations are available for offline image processing and analysis, including volume rendering, neuron tracing, 3D measurement and 3D particle tracking. All the microscopes are inverted and have environmental chambers for control of temperature and CO2.
UTSW | Mouse Metabolic Pheotyping Core | Ali | Aktar | NA | NA | 214-648-3607 | http://www.utsouthwestern.edu/research/core-facilities/mouse-metabolic-phenotyping/index.html | The Mouse Metabolic Phenotyping Core (MMPC) provides state-of-the-art analytical and phenotypical measures to the scientific community both inside and outside UT Southwestern Medical Center. Our goal is to expand the scope of techniques available to investigators, standardize key methodologies, and expedite the completion of research on metabolic disorders-related diseases (diabetes and obesity), cancer, aging neurological disorders, etc.
UTSW | Mouse MRI Core | Takahashi | Masaya | NA | NA | 214-645-2740 | http://www.utsouthwestern.edu/research/core-facilities/mouse-mri-core.html | The Mouse MRI Core Facility offers state-of-the-art magnetic resonance imaging (MRI) and proton spectroscopy (MRS) of mice and other small animals to all campus investigators. The facility includes a 7 Tesla horizontal-bore magnet and various physiology monitoring capabilities including ECG, respiratory gating for cardiac imaging and temperature monitoring and control throughout the imaging experiment. The facility will provide guidance for post-processing of image data and experimental planning for longitudinal studies
UTSW | NEI Vision Research Core | Niederkorn | Jerry | NA | NA | 214-645-3829 | http://www4.utsouthwestern.edu/neicoregrant/ | The purpose of the National Eye Institute (NEI) Core Facility is to support vision research at UT Southwestern Medical Center. Many NEI-supported research activities at UT Southwestern share a common reliance on four major technologies: 1.Tissue culture/monoclonal antibody production 2.Imaging 3.Biochemistry/protein purification 4.Bioanalytical chemistry Over the past several years, investigators in the Department of Ophthalmology have shared resources, technical expertise, and equipment to facilitate their respective research programs in a remarkably collegial atmosphere. The expansion of the Department of Ophthalmology's laboratory facilities, and the acquisition of additional NEI grant support for investigators on campus, prompted us to assemble a core grant as a means of enhancing these research activities. The establishment of core facilities obviates duplication of fundamental technologies by PI’s in the Departments of Ophthalmology, Developmental Biology, Physiology, and Neuroscience.
UTSW | O'Brien Kidney Research Core | NA | NA | NA | NA | NA | http://www.utsouthwestern.edu/research/core-facilities/obrien-kidney/index.html | The George M. O’Brien Kidney Research Core Center (NIH P30DK079328) was established at UT Southwestern Medical Center in 2007. The overall goal of the Center is to support research in the areas of kidney development and genetics, renal physiology, and chronic kidney disease that is conducted at UT Southwestern, neighboring institutions in North Texas, and the greater nephrology community in the US and worldwide. The specific aims are to generate new animal models to study the pathogenesis and treatment of human kidney diseases and their cardiovascular complications, accelerate the clinical application of discoveries made in renal basic science laboratories, and provide investigators with specialized tools and expertise to study kidney development, physiology, and pathophysiology. To achieve these aims, the UT Southwestern O’Brien Kidney Research Center comprises four biomedical research cores: animal models, physiology, cell biology and pathology, and clinical and translational. In addition, the Center offers an educational enrichment program consisting of biweekly seminars, an annual research conference and hands-on training in research techniques. The pilot and feasibility program supports up to four projects per year to new investigators in the field of kidney research. The cores support ongoing kidney-related research conducted at UT Southwestern, in the North Texas region, nationally and internationally. The research base consists of 41 externally funded investigators who are conducting basic research in the areas of kidney physiology and cell biology, injury and inflammation, developmental biology, and renal cystic diseases. Clinical/translational research is conducted in the areas of acute and chronic kidney disease, kidney and cardiovascular disease, and electrolyte and mineral metabolism. The Educational Enrichment Program includes a research seminar, annual symposium, training grants, and courses offered by the new Department of Clinical Sciences. By strengthening existing collaborations and attracting outside investigators, the center will promote new multidisciplinary approaches to understanding the causes and treatment of renal diseases. The George M. O’Brien Kidney Research Core Center (NIH P30DK079328) was established at UT Southwestern Medical Center in 2007. The overall goal of the Center is to support research in the areas of kidney development and genetics, renal physiology, and chronic kidney disease that is conducted at UT Southwestern, neighboring institutions in North Texas, and the greater nephrology community in the US and worldwide. The specific aims are to generate new animal models to study the pathogenesis and treatment of human kidney diseases and their cardiovascular complications, accelerate the clinical application of discoveries made in renal basic science laboratories, and provide investigators with specialized tools and expertise to study kidney development, physiology, and pathophysiology. To achieve these aims, the UT Southwestern O’Brien Kidney Research Center comprises four biomedical research cores: animal models, physiology, cell biology and pathology, and clinical and translational. In addition, the Center offers an educational enrichment program consisting of biweekly seminars, an annual research conference and hands-on training in research techniques. The pilot and feasibility program supports up to four projects per year to new investigators in the field of kidney research. The cores support ongoing kidney-related research conducted at UT Southwestern, in the North Texas region, nationally and internationally. The research base consists of 41 externally funded investigators who are conducting basic research in the areas of kidney physiology and cell biology, injury and inflammation, developmental biology, and renal cystic diseases. Clinical/translational research is conducted in the areas of acute and chronic kidney disease, kidney and cardiovascular disease, and electrolyte and mineral metabolism. The Educational Enrichment Program includes a research seminar, annual symposium, training grants, and courses offered by the new Department of Clinical Sciences. By strengthening existing collaborations and attracting outside investigators, the center will promote new multidisciplinary approaches to understanding the causes and treatment of renal diseases.
UTSW | Phlebotomy Services/CTSA (McDermott Center) | Garcia | Christine | NA | NA | 214-648-1471 | http://hgcl.swmed.edu/index.php?route=information/information&information_id=5 | The Principal Investigator (PI) must obtain IRB approval for a study protocol. An IRB number, account and requisition number is required to place an order with the Phlebotomy Team in the Core Laboratory. For routine blood draws, please contact us at least 24 hours in advance of sample collection by using the website below. The time/place of collection, the number of individuals to be drawn and instructions for blood processing is provided to the team. If personnel are available, it may be possible to collect blood on shorter notice. The PI’s study team obtains written consent from each research subject prior to the blood draw. The phlebotomist will confirm that the consent form has been signed by the study participant and will confirm the identity of the participant using a picture ID or two forms of identification. We can also send out blood drawing kits to study participants living elsewhere. If prearranged, it may be possible to arrange for the Phlebotomy Team to accompany a study team representative to another location (such as the subject's home) to collect samples.
UTSW | Protein Chemistry Technology Core | Ball | Haydn | NA | NA | 214-645-6296 | http://www.utsouthwestern.edu/research/core-facilities/protein-chemistry-technology-core/index.html | The Protein Chemistry Technology Core was established to provide efficient, high quality services to researchers in the academic community. The services presently offered include peptide synthesis and Edman protein sequencing. Our facility, its state-of-the-art instrumentation, and computer software is constantly upgraded to ensure the highest possible level of support. It is our aim to provide quality performance and offer experienced support, both through our products and people.
UTSW | Proteomics Core | Miraei | Hamid | NA | NA | 214-648-3520 | http://www.utsouthwestern.edu/research/core-facilities/proteomics-core.html | The Proteomics Core provides UTSW and external researchers with access to state-of-the-art mass-spectrometry (MS) proteomics facilities. MS proteomics is fast becoming an essential analytical tool for biological scientists. Modern instrumentation and data analysis software can identify and quantify hundreds or thousands of proteins from complex biological mixtures such as cell lysates or body fluids. The core provides a range of services, including: Intact molecular weight measurement by ESI-QTOF Protein identification from gel bands Protein identification from complex mixtures Identification of post-translational modifications SILAC, iTRAQ, and label-free quantification of peptides and proteins
UTSW | Rapid Biochemical Kinetics Core | Ross | Elliott | NA | NA | 214-645-6134 | http://www.utsouthwestern.edu/research/core-facilities/rapid-biochemical-kinetics-core.html | The Rapid Biochemical Kinetics Core Facility provides equipment that allows UT Southwestern Medical Center investigators to make pre-steady state measurements of biochemical reactions on the 1-1000 ms time scale. The facility supports two BioLogic rapid-mixing devices that can be used for either optical stopped flow or quench flow experiments. Available stopped flow spectroscopy modes include absorbance, multi-wavelength absorbance, fluorescence (including multi-wavelength and polarization) and CD. Dead times approach 1 ms, minimum data acquisition time is about 1 ms, and minimal reagent volumes approach 20 microliters per shot. One mixer has thee syringes and another has four, all independently controlled by stepper motors. Mixers and spectroscopy components are computer controlled to allow for complex multi-stage mixing protocols. The core also houses and maintains a PTI LaserStrobe fluorometer that is capable of determining fluorescence lifetimes in the nanosecond - microsecond time range -- for both small organic fluorophores and rare earth chelates. Access and billing are coordinated by the Live Cell Imaging Core Lab The Core Facility provides no technical support. Each investigator is responsible for experimental design and execution. Control and data-acquisition software is provided along with software for data analysis. Investigators interested in using these facilities should first contact the director to discuss feasibility and to arrange training. Use is generally restricted to faculty members, post-doctoral researchers and advanced graduate students.
UTSW | Research Computing | Spencer | Thomas | NA | NA | thomas.spencer@utsouthwestern.edu | http://www.utsouthwestern.edu/research/core-facilities/research-computing.html | Our mission is to provide an IT infrastructure for science that supports data intensive research in a highly collaborative environment. This infrastructure includes storage, high-speed network connectivity, a high performance computing platform, and software tools and services to support the advanced analytic needs of the scientific community
UTSW | Rodent Behavior Core | Birnbaum | Shari | Peca | Lauren | 214-648-4988 | http://www.utsouthwestern.edu/research/core-facilities/behavior-core.html | The UTSW Rodent Behavior Core can assist investigators in all aspects of rodent behavioral testing including the design and execution as well as the data analysis and interpretation. The core facility is equipped to perform a broad battery of behavioral tests to thoroughly phenotype overall motor and sensory function of rats and mice as well as phenotype specific behaviors that are of interest to the investigators
UTSW | Small Animal Imaging (Simmons Cancer Center) | Mason | Ralph | Lopez | Ramona | 214-648-9064 | http://www.utsouthwestern.edu/education/medical-school/departments/simmons/research/shared-resources/small-animal-imaging.html | The Small Animal Imaging resource provides opportunities for optical imaging of cells in-vitro and growing in animals: notably bioluminescent imaging (BLI), chemiluminescent imaging (CLI), and fluorescent imaging (FLI). State-of-the-art commercial instruments can be used in a high through-put mode to examine tumors developing in animals noninvasively over a period of days or weeks. Dynamic imaging allows real time noninvasive assessment of pharmacokinetics and pharmacodynamics. Depth resolved investigations provide 3D insights. Positron emission tomography PET/CT and planar gamma-scintigraphy are available together with a radiolabeling and imaging service. Our latest instrumentation provides high resolution small animal ultrasound. Capabilities are available both inside the specific pathogen free (SPF) barrier facility and in conventional areas. Investigators may request service imaging or be trained to undertake investigations themselves. The resource can also provide advice on generating new tumor lines and assist with small animal veterinary care and development of optimal protocols for imaging investigations. By centralizing the imaging opportunities, we are able to provide considerable expertise and cost savings for individual investigators.
UTSW | Structural Biology Core | Tomchick | Diana | Brautigam | Chad | 214-648-6383 | http://www.utsouthwestern.edu/research/core-facilities/structural-biology-core.html | The Structural Biology Core Facility provides a unique platform for biochemists and molecular biologists to engage in structural biology projects by making macromolecular crystallography available as a general tool. The facility has the equipment and know-how to guide investigators through all stages of crystallographic projects from cloning, expression and purification via crystallization and structure determination, to structure analysis, presentation and publication.
UTSW | Synthetic Chemistry Core | Ready | Joseph | NA | NA | 214-648-0313 | http://www.utsouthwestern.edu/research/core-facilities/synthetic-chemistry-core.html | The goal of the Synthetic Chemistry Core is to assist UT Southwestern Medical Center researchers in the areas of organic and medicinal chemistry. We collaborate with researchers across the university on medicinal chemistry projects to improve the potency, selectivity, stability and toxicity profile of biologically active small molecules. To this end, we work closely with a pharmacology group on campus and the high-throughput screening facility. Finally, we provide consultation and general advice on drug discovery and development.
UTSW | Tissue Management (Simmons Cancer Center) | Witkiewicz | Agnes | NA | NA | agnes.witkiewicz@utsouthwestern.edu | http://www.utsouthwestern.edu/education/medical-school/departments/simmons/research/shared-resources/tissue-management.html | This shared resource provides specimen procurement and ancillary services to UT Southwestern Medical Center investigators. The Tissue Management resource includes five labs with an extensive collection of equipment to facilitate tissue-based research. DNA and RNA fractions are routinely isolated from fresh samples for use in the molecular analysis of cancer pathogenesis. Laser capture microdissection of tissue sections is offered for investigators wishing to isolate specific cells within a tissue sample for further analysis. This resource also offers services for the construction of tissue micro-array in which as many as 825 samples can be arrayed on a single microscope slide for immuno-histochemical analysis of protein expression across a large sampling of tumor and normal tissue. Samples available to researchers include over 6,000 specimens. Departments involved to date include Breast Oncology, Gastroenterology, Hematology Oncology, Surgical Oncology, Urology, Ob/Gyn Oncology, and Transplant and Autopsy Services. Investigators can access these resources online through the Biomaterial Tracking and Management application in order to view the samples currently available in the tissue bank, to order samples, to track the status of their orders, and to obtain the clinical, pathological and demographic data associated with their samples.
UTSW | Transgenic Core | Hammer | Robert | Ritter | John | 214-645-6287 | http://www.utsouthwestern.edu/research/core-facilities/transgenic-core.html | The mission of the core is to create and preserve lines of genetically engineered rodents. The core can generate conventional transgenic mice and rats and can create chimeric mice harboring select genetic mutations. The core performs gene targeting in mouse embryonic stem cells, expansions of in-house targeted ES cell clones and KOMP derived clones, and preparation of targeted ES cell clones for microinjection. The core can rederive lines of mice from conventional housing to an SPF barrier status and can cryopreserve sperm, embryos, and ovaries from select mouse lines. Also, the core can reconstitute lines of mice from cryopreserved gametes by either simple embryo transfers or by performing in vitro fertilization and embryo transfer
UTSW | Vector Core | Gerard | Robert | NA | NA | 214-648-4997 | http://www.utsouthwestern.edu/labs/gerard/vector/ | Preparing and using recombinant viral vectors requires specialized and expensive techniques, reagents and biosafety-compliant laboratory space not available to every investigator. The Vector Core serves as a repository of materials, information and expertise to produce recombinant vectors, both viral and non-viral.